Annual Drinking Water Quality Report

Drayton, ND

2023

The City of Drayton is pleased to present you the 2023 Annual Drinking Water Quality Report.  This report is designed to inform you about the water we deliver to you everyday.  The City of Drayton is committed to our goal of providing you with a safe and dependable supply of water.  We want you to understand the efforts we make to improve the water treatment process and to protect our valuable water resources.

The City of Drayton draws its drinking water from the Red River of the North.  Our public water system, in cooperation with the North Dakota Department of Health, has completed the delineation and contaminant/land use inventory elements of the North Dakota Source Water Protection Program.  Based on the information from these elements, the North Dakota Department of Health has determined that our source water is moderately susceptible to potential contaminants.  A copy of this report is available at City Hall (122 South Main) for review.

This report is required by the Federal Safe Drinking Water Act (SDWA) and we encourage you to share and discuss the information contained herein.  If you have questions about this report or concerning your water utility, please contact Perry Degeldere, Public Works Superintendent, at 454-6370.  We want our valued customers to be informed about their water utility.  If you care to learn more, please attend any of our regularly scheduled meetings which are held the first Monday of every month at City Hall, Drayton, ND. If you are aware of non-English speaking individuals who need help with appropriate language translation please call Sonia Misialek at City Hall (454-3590).  The City of Drayton Water Department would appreciate if large volume customers post copies of the CCR in conspicuous locations or distribute them to tenants, residents, patients, students and/or employees, so individuals who consume the water but do not receive a water bill can learn about our water system.

The City of Drayton Water department routinely monitors for contaminants in your drinking water in accordance with Federal and State laws.  The table included with this report shows the monitoring for the period of January 1st to December 31st, 2023.  As authorized and approved by the Environmental Protection Agency, the state has reduced monitoring requirements for certain contaminants to less often than once per year, because concentrations of these contaminants are not expected to vary significantly from year to year. Some of our data, though representative, is more than one year old.  The sources of drinking water (both tap water and bottled water) included rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land, or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substance resulting from the presence of animals or human activity.

Contaminants That May Be Present in Source Water:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

Pesticides and herbicides, which come from a variety of sources such as agriculture, urban storm water runoff and residential uses.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff and septic systems.

Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to insure that tap water is safe to drink, EPA prescribes regulations, which limit the amount of certain contaminants in provided by public water systems.  Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791).  Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised person such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/Centers for Disease Control and Prevention (CDC) guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  City of Drayton is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  Use water from the cold tap for drinking and cooking.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your drinking water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

In this table you will find many terms and abbreviations you may not be familiar with.  To help you better understand these terms we’ve provided the following definitions:

Non-Detects (ND) - Laboratory analysis indicates that the contaminant is not present.

Non-Applicable (N/A) -  Does not apply.

Parts per million (PPM) or Milligrams per liter (mg/l) - Measurement of trace concentration. Put in Perspective it corresponds to 1 penny in $10,000.

Parts per billion (PPB) or Mircograms per liter (g/l) - Measurement of trace con-centration. Put in perspective it corresponds to 1 penny in $10,000,000.

Parts per trillion (PPT) or Nanograms per liter (nanograms/l  )- Measurement of trace concentration.  Put in perspective it corresponds to 1 penny in $10,000,000,000.

Parts per guadrillion (PPQ) or Picograms/liter – Measure of trace concentration.  Put in perspective it corresponds to 1 penny in $10,000,000,000,000.

Picocuries per liter (pCi/l) – This is a measure of radioactivity of the water.

Millerems per year (mrem/yr) – This is a measure of radiation absorbed by the body.

Million Fibers per liter (MFL) -  This is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

Nephlometric Turbidity Unit (NTU )- This is a unit used to measure the clarity of water.  Turbidity in excess of 5 NTU is just noticeable to the average person.

Action Level (AL) – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) – A treatment technique is a required process to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level (MCL)- MCL is the highest level of a contaminant that is allowed in drinking water.  MCL’s are set as closely to the MCLG’s as feasible using the best available technology.

Maximum Contaminant Level Goal (MCLG)- MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLG’s allow for a margin of safety.

Maximum Residual Disinfectant Level Goal (MRDLG)- The level of drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Maximum Residual Disinfectant Level (MRDL)- The highest level of disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Highest Compliance Level (HCL)- The highest compliance level of that contaminant used to determine compliance with a National Primary Drinking Water Regulation.

Range of detection’s (ROD)- The lowest to the highest result value recorded during the required monitoring time frame.

Source Water Microbiological Monitoring:

The City of Drayton is pleased to provide customers with safe drinking water that meets or exceeds all Federal and State requirements.